## Slide 1
Photon counting interferometry to detect geontropic space-time fluctuations with GQuEST
Sander M. Vermeulen
McCuller Lab
California Institute of Technology

## Slide 2
Introduction to GQuEST
Holographic Quantum Gravity Fluctuations
Basics of Laser Interferometry
Homodyne Readout
Photon Counting Readout
Classical Noises
Outline

## Slide 3
Twin lab-scale (5 m) Michelson laser interferometers
Search for holographic quantum space-time fluctuations
i.e. Gravity from the Quantum Entanglement of Space-Time
Novel ‘photon counting readout’ evades quantum noise
Subsystems are under construction, awaiting new lab completion
GQuEST in short

## Slide 4
Why use an interferometer to detect quantum gravity?
Gravity is Quantum-Mechanical
Gravity is Geometry
 Geometry is Quantum-Mechanical
 Distance measurements exhibit quantum fluctuations

## Slide 5
4 km
LIGO vs. GQuEST
@ 100 Hz
5 m
@ 10 MHz
Sensitivity to length changes:
Detection statistic:

## Slide 6
Heuristic Holographic Quantum Gravity

## Slide 7
Covariant Entropy Bound:
Heuristics of Holographic Quantum Gravity
Entropy ‘inside’ horizon
Area of causal horizon
 Saturated for black holes (Generalised 2nd law of T.D.)
Radius of spherical horizon

## Slide 8
Heuristics of Holographic Quantum Gravity
space
time
space
Rindler/Killing horizon
space
space
space
Assume Covariant Entropy Bound is saturated:

## Slide 9
Heuristics of Holographic Quantum Gravity
Associate degrees of freedom to the entropy:
Assume degrees of freedom undergo quantum fluctuations:

## Slide 10
Heuristics of Holographic Quantum Gravity
Holography
QM
Stat. Mech.
Gravity

## Slide 11
Light cone fluctuations accumulate like a random walk
space
time
Step size:
Number of steps
Total length:
Planck-scale random walk noise

## Slide 12
Space-time fluctuations: Pixellon Model
Associate a stochastic scalar field to holographic degrees of freedom:
The field gravitates, perturbing the metric:
IFO signal spectrum:

## Slide 13
Pixellon Model: LIGO constraints
‘Low’-frequency LIGO constraints:
(with IR cut-off)
(without IR cut-off)

## Slide 14
Laser Interferometry & Photon Counting

## Slide 15
Laser interferometry: measuring phase modulations
Perturbations
or
Reference arm
Signal arm
Modulates the power at the output
Field in signal arm
Phase modulation of the carrier field:

## Slide 16
Expansion for
Frequency
Amplitude
Carrier
Signal sideband
Sideband fields
Carrier field:
+ Signal sideband fields


## Slide 17
Sideband fields
Carrier field:

+ Signal sideband fields
Frequency
Amplitude
Signal sideband
Carrier
Expand for

## Slide 18
Homodyne Readout
Introduce a small static arm-length difference
 Allows carrier field to leak into the output:
Sidebands beat with ‘local oscillator’
Frequency
Amplitude (P)

## Slide 19
Quantum Shot Noise
Heisenberg uncertainty for coherent optical state:
Frequency
Amplitude
Quantum noise ‘sidebands’:

## Slide 20
Homodyne Readout: Shot Noise
Quantum uncertainty produces measured shot noise
Frequency
Amplitude (P)

## Slide 21
Homodyne Readout: Statistics
Detection statistic:
Can we do better?
Yes, with photon counting!
Frequency
Amplitude (P)
4 orders of magnitude

## Slide 22
Photon Counting: Intuition
Homodyne readout measures time-dependence, i.e. phase/frequency of the signal
The signal model does not specify these properties…
 time-dependence/phase/frequency info is useless for finding a signal that is stationary/stochastic/broadband
 Devise a quantum measurement that does not provide useless info, in exchange for useful info

## Slide 23
Photon Counting
Measure the number of photons exactly:
No phase info measured
Practical challenges with this approach:
Too much light to discern single signal photons
Too many non-signal photons
 Can’t count photons precisely
Maximum info on signal power

## Slide 24
Photon Counting: Filtering
or
or
?
Narrowband optical filter

## Slide 25
Photon Counting: Statistics
Detection statistic:
Recall for Homodyne readout:

## Slide 26
Classical Noise & Outlook

## Slide 27
Classical Noise
Classical noise in the filter passband is indistinguishable from signal…

## Slide 28
Classical Noise: Mirror Thermal Noise
=

## Slide 29
Longitudinal
Transverse
Solid Normal Modes
Slide by Daniel Grass

## Slide 30
GQuEST: Outlook
+ time it takes to build the experiment…
test of quantum gravity within day

## Slide 31
Holographic Quantum Gravity implies broadband stochastic distance fluctuations
Conventional homodyne readout of interferometers is sub-optimal to detect this signal
Photon counting readout ignores phase information, which yields a quantum advantage
If classical noise is mitigated to below the quantum noise, GQuEST can provide a test of quantum gravity within days
Conclusions

## Slide 32
FIN